APPENDIX D: BILL OF QUANTITIES (BOQ)

Poultry House (6 m × 3 m)

| Item | Unit | Quantity | Unit Cost (Ksh.) | Amount (Ksh.) |
| --- | --- | --- | --- | --- |
| Cement (50 kg bags) | Bags | 10 | 900 | 9,000 |
| Sand | Tonnes | 2 | 2,500 | 5,000 |
| Ballast | Tonnes | 2 | 2,500 | 5,000 |
| Hardcore | Tonnes | 2 | 2,000 | 4,000 |
| Building stones | No. | 300 | 25 | 7,500 |
| Timber posts | No. | 20 | 450 | 9,000 |
| Timber rails | No. | 30 | 300 | 9,000 |
| Chicken wire mesh | Roll | 2 | 6,500 | 13,000 |
| Iron sheets (3 m) | No. | 12 | 1,400 | 16,800 |
| Roofing nails | Kg | 3 | 450 | 1,350 |
| Ordinary nails | Kg | 5 | 300 | 1,500 |
| Door complete | No. | 1 | 3,000 | 3,000 |
| Hinges and padlock | Set | 1 | 1,200 | 1,200 |
| Feeders | No. | 6 | 800 | 4,800 |
| Drinkers | No. | 6 | 600 | 3,600 |
| Brooder guard | No. | 2 | 2,000 | 4,000 |
| Water tank (1,000 L) | No. | 1 | 10,000 | 10,000 |
| Gutters and fittings | Lot | 1 | 4,500 | 4,500 |
| Labour | Lump sum | 1 | 15,000 | 15,000 |

| | | | Total Estimated Cost | Ksh. 133,250 |